# -CHAPTER 1

## PREAMBLE

- WHEREAS the PAKISTAN STONE DEVELOPMENT COMPANY (PASDEC) having its registered office at 2nd Floor, Islamabad Chamber Of Commerce Building, Mauve Area, G-8/1, Islamabad, Pakistan, an association of non profit organization, within the meaning of Section 42 of the Companies Ordinance, 1984. PASDEC established by MOIP as subsidiary of PIDC;

- WHEREAS land has been acquired from Government of the Khyber Pakhtunkhwa and thereon an Marble City has been established namely MARBLE CITY, RISALPUR (the Marble City), wherein plots will be made available on 99 years LESSEE basis with infra-structure facilities like roads, electricity, gas, telecommunication, water supply, sewerage, drainage and fire hydrants etc.

- WHEREAS it is considered expedient to avoid growth of sub-standard, ill-designed, tattered, shabby and dilapidated structures on the Marble City, these regulations known as Industrial  Building Bye Laws are hereby issued and stated as follows:

## SHORT TITLE AND EXTENT

- These Bye-Laws may be called Pakistan Stone Development Company Building Bye-Laws and shall come into force as and when notified by PASDEC from January 2012.

- These Building Bye-Laws shall be applicable within areas acquired or to be acquired by PASDEC in the Marble City. The design and construction of Building(s) in the Marble City shall be in conformity with these Building Bye-Laws.

- The industrial plots shall only be used for industrial purposes and will not be used directly or indirectly for residential or any other purpose(s) which contravenes with the industrial uses.

- PASDEC or any person authorized in this behalf shall have power to make amendments, alterations, or additions in these Bye-Laws or to relax any of its provisions on case to case evaluation.

# CHAPTER 2

## DEFINITIONS

- In these Bye-Laws, unless the context otherwise requires, the following expressions shall have meaning, hereby respectively assigned to them that is:-

- “ACRE”, means a size of land equal to 36,000 Sft (3346 square meters).

- “AUTHORITY”, means Pakistan Stone Development Company, Islamabad in the Marble City organization.

- “ADDITION/ALTERATION” means any change brought about after the approval of building plan without affecting or violating any provision of these Regulations.

- “ALLOTTEE / LESSEE” means any person in whose name the letter of LESSEE / allotment has been issued by PASDEC.

- “BACK SPACE” shall indicate the clearance open to the sky between building and boundary line at the back of plot. Waste water treatment – Silo diagram and 10 feet back set where stacking of materiel shall not been allowed.

- “BOARD OF DIRECTORS” (BOD) means the Board of Directors of PASDEC.

- “BOARD OF MANAGEMENT” (BOM) mean representatives of occupiers of the Marble City, nominated by BOD.

- “BUILDING CONTROL DIVISION (BCD)” means a division working in the Marble City consisting of various professionals responsible for implementation of these Regulations.

- “BUILDING CONTROL MANAGER” means a civil engineer / Architect appointed as such by PASDEC to approve plans and to control the building activity at site.

- “BUILDING LINE” means the exterior line of profile of building on the ground or that can be projected on the ground as prescribed in master plan.

- “BUILDING PLAN” means set of drawings that describe various details of the structure to be completed on the plot.

- “BUILDING” means any structure or enclosure permanently affixed to the land.

- “BUYER” means persons(s), corporate or co-operative body or any other legal entity who/which get 99 years LESSEE of plot(s) in the Marble City for establishing an industrial enterprise.

- “CIVIL ENGINEER” means a professional with a Civil Engineering Degree from a recognized University or Institution and holding valid registration of Pakistan Engineering Council.

- “CITY WATER SUPPLY” means water supplied from the water distribution network provided for use of the consumers.

- “BUILDING COMPLETION CERTIFICATE” means certificate issued by the at all locations Building Control Engineer (PASDEC) or the authorized person of the PASDEC for the purposes of completion of the building on submission of As-Build Drawing.

- “ELECTRICAL SYSTEM/INSTALLATION”, is defined as ‘an assembly of associated electrical equipment supplied from a common origin to fulfill a specific purpose and having certain coordinated characteristics’.  For the purpose of Building Regulations an electrical system/installation means fixed electrical cables or fixed electrical equipment located on the consumer’s side of the electricity supply meter.

- “ENVIRONMENTAL ACT”, means the Pakistan Environmental Protection Act (PEPA) 1997.

- “ESTATE ENGINEER” means an officer, who is appointed by PASDEC to manage the day to day affairs of the B.C.D and work as a focal person on behalf of PASDEC.

- “INDUSTRY” “means a building designed for use as a Marble factory including areas (10% of the covered area of the plot) for front Gate office, kitchen and mess and any accommodation on the same site, the use of which is intended for the convenience of the workers.

- “FRONT SPACE” shall indicate the clearance open to the sky, between building and boundary line on the road side of plot;

- “GOVERNMENT” means Government of the Pakistan.

- “HEIGHT OF BUILDING”, the height of a building shall be calculated from the plinth or floor level.

- “LESSEE” means any person / Company occupying any plot/premises in MARBLE CITY, RISALPUR on such terms and conditions as laid down by PASDEC.

- “MANUFACTURE” means the product being produced in the building.

- “MARLA” means a size of land equal to 225.sq feet.

- “MASTER PLAN” means the plan of the Marble City which describes various land uses and circulation pattern of the Marble City.

- “OWNER / LESSEE” means any person in whose name the plot/premises stands LESSEE by PASDEC, after fulfillment of all conditions by such person.

- “OCCUPIER” means the person who occupies the building, could be other than the LESSEE of the building.

- “ORDINANCE” means the Companies Ordinance, 1984 and every statutory modification thereof for the time being in force.

- “PLOT” means a single tract of land located within a sector/block and demarcated by PASDEC as such.

- “PREMISES” means a building designed for use as a factory or workshop and includes any office or other accommodation on the same site, the use of which is intended for the convenience of workers.

- "REGISTERED ARCHITECT/ENGINEER" means a professional with Architectural/Civil Engineering Degree from a recognized University or Institution, holding valid registration of Pakistan Council of Architects & Town Planners (PCATP) or PEC.

- Words importing feminine gender also include the masculine gender.

- Words importing masculine gender also include the feminine gender.

- Words importing persons include bodies corporate and otherwise, firms, registered or un-registered associations, and non-government, semi-government and government organizations.

- Words importing plural number also include the singular number.

- Words importing singular number also include the plural number.

- Words of expressions in these Bye-Laws shall, except where it is repugnant to the subject or context, bear the same meanings as in a Standard English dictionary.

- “SCRUTINY FEES/SERVICES CHARGES”, means a fee to be determined and levied by PASDEC for services rendered.

- “SANCTIONED PLAN”, means the set of plans and specifications submitted under these bye-laws and duly approved by PASDEC.

- “SEPTIC TANK” means a tank in which toilet sewerage is collected and treated as per instructions of the PASDEC before its discharge into a public sewer. However Industrial effluent if any will also be treated as per instruction of PASDEC.

- “SEWERAGE SYSTEM” means network of underground sewers and/or surface drains provided for the purposes of collection and conveyance of waste water / sewage.

- “SIDE SPACE” means clearance open to the sky between the nearest building line and the boundary line.

- “SITE PLAN” means map of any specific plot prepared by a registered professional engineer/architect and drawn in scale equal to that used in Master Plan and indicating its position with respect to adjacent plots and roads.

- “SITE” means the piece of land or plot in the City.

- “THE MARBLLE CITY” means Marble City, established by PASDEC.

- “UNIT” means an element or component of a thing or building block.

- “WORKER(S)” means person(s) employed for the purposes of the operation / running of the factory/industry.

- “WRITTEN” means “in writing” includes printing, lithography, type- writing, telex, tele-facsimile (fax), electronic mail (e-mail) and other modes of representing or reproducing words in a visible form.

# CHAPTER 3

# APPLICATION FOR BUILDING WORKS,

# SUBMISSION AND SCRUTINY OF BUILDING PLANS

1. BUILDING CONTROL DIVISION

1.1. Within PASDEC, a division called “Building Control Division” headed by building control Engineer shall be constituted, consisting of following professionals:

- Civil Engineer

- Architect

- Electrical Engineer

- Environmental Engineer

- Horticulture Officer

- Customer Services Department (One Window Operation)

These professionals shall be assisted by the administrative staff. The number of professionals mentioned above will be decided by PASDEC for each individual City.

1.2. This Division shall be responsible for:

  - Issuance of By Laws to the LESSEE

  - Receiving, Scrutiny and approval of architectural drawings and utilities network of the buildings submitted by the applicant.

  - Address the Customer Queries & solutions along implementation methodology

  - Carrying out site visits to ensure that the buildings are being constructed in accordance with the approved building plans and there is no violation of these Regulations on the construction site.

  - Monitoring Landscaping & Plantation work at the site premises

  - Issuance of Building Completion Certificate

  - Perform all those duties which have been conferred upon them under these Regulations.

## 2. PROCEDURE FOR OBTAINING APPROVAL FOR CONSTRUCTION OF BUILDING

2.1 A lessee intending to erect or re-erect any building or factory shall apply in writing to PASDEC on Form ‘A’, annexed to these Bye-Laws which shall be supported by the following documents:

- A site plan of the plot on which building is sought to be erected, prepared and signed by the owner and a registered Architect.

- A building plan of the site proposed for construction, prepared and signed by the Owner and Designer.

- Plans of utilities (water supply system, sewerage, electrification) duly signed by the registered Engineer.

- Certificate by the registered Architect as prescribed in Annexure-C

- A structural stability certificate (as prescribed) should be submitted.  This certificate must be signed by a qualified M.Sc Structural Engineer having minimum five years of experience in structural design with valid registration of Pakistan Engineering Council. (Annexure – D1).

- A soil investigation report prepared and signed by Geo-technical engineer.

- Proposed construction schedule.

- Signed and sealed Bye-Laws of The Marble City (empowered version).

2.2. Subject to the provisions of Pakistan Environment Protection Act and Regulations framed there under, every application shall be accompanied by a No Objection Certificate from EPA.

2.3. A fire fighting plan shall be submitted drawn on a suitable scale clearly showing measures for      fire extinguishing necessary to fulfill as per requirements of City District Government Fire Department.

2.4 . The landscape and storm water drainage plan with the provision of rain water harvesting as its integral part shall be submitted along with building plans.

2.5. All plans shall be in triplicate and signed by lessee and consulting architect and engineers as the case may be.

2.6. Every prospective builder (owner or lessee) intending to carry out Building Works whether new or involving additions and alterations shall employ a Registered Architect/Engineer to design and supervise the Building Works.

2.7. Where the Registered Architect or Engineer so employed ceases to be in-charge of such Building Works before the same is completed, further execution of such works shall forthwith be suspended until a fresh appointment is made as required under these Regulations. A certificate duly signed by the Registered Architect / Engineer employed under this Regulation shall be obtained by the owner in token of the work or part of the work having been satisfactorily done under his supervision.

## 3. SITE PLAN

  - The site plan must be drawn to a scale of not less than 1" = 40' showing:

- The direction of north point;

- The boundaries of the site;

- NSL of Plot, proposed plinth levels and finished floor levels as prescribed points.

- The position of site in relation to adjacent roads and the level of the site in relation to roads on which it is situated;

- All buildings and premises within 150 feet (45m) of the boundaries of the site;

- The existing condition of the site whether occupied by a building or not; depressions and other salient features, if any;

- The open space to be left inside or about the building to be erected.

- Any future expansion marked as Phase-II with covered area.

## 4. BUILDING PLAN

4.1The Building Plan must be drawn to show:

- The plan of ground floor and all other additional floor(s);

- The position and dimensions of all projections beyond the main walls of the building;

- The positions, form, and dimensions of proposed sewerage and drainage arrangement;

- The level and width of foundations and level of lowest floor with reference to level of center of the road on which front of the proposed building abuts;

- The level of the courtyard and open space in the plot;

- The elevation and detail of all sections of building;

- The size of doors, windows, ventilators and openings for each room and covered area on each storey;

- The assigned space for name of firm and advertisement in the front elevation drawing.

- The level of gate plinth will be minimum 9” above the adjacent Finished Road Level (FRL).

5. GRAPHIC REQUIREMENTS FOR BUILDING PLANS

5.1 Building plans shall be prepared on 24"x36" (A1) sheets.

- Scales permitted for plans is 1"=20' (1:250) minimum, but it should not be more than 1”=50’ (1:600) in any case.

- Deviation from the specified scale can only be permitted with the special approval of the PASDEC.

- The seal, date and original signature of the Registered Architect/Engineer responsible for the drawings is required on each sheet along with the signature and sealed the Owner/ Authorized Representative.

- Show all street and road alignments on drawings.

6. SUBMISSION OF PLANS

6.1 The building plan shall be prepared in AutoCAD and submitted to PASDEC in triplicate on 24”x36” drawing sheets along with related documents which shall, if deemed fit, accord approval and return its two copies to PASDEC, who will return one copy to the applicant after receiving the Scrutiny Fee as proposed by PASDEC and retain the other at the office.

  - A soft copy of the drawings shall be submitted to BCD in the form of a Compact Disc (CD-R).  The CD must be labeled for identification showing the applicant’s name and application number.

## 7. SCHEDULE OF CONSTRUCTION

## The applicant must submit a schedule of construction in the form of a Bar Chart of its building along with the building plans indicating main activities during construction. Without this schedule, the application for building plan approval will not be accepted.

## 8. MINOR ALTERATION IN PLAN

## Where an Application is made for minor alteration, it shall not be necessary for buyer and/or lessee to submit complete plans and specifications of the building. The buyer and/or lessee can only make reference to the plans and specifications kept by City Engineer, explaining the alterations intended therein.

## The PASDEC shall have authority to approve or reject application after verification and scrutiny of building plan(s), specification(s), etc. received therewith.

## In case of rejection of Application, PASDEC shall specify reasons thereof, and communicate reasons to Buyer and/or lessee in order to enable him to resubmit revised Building Plan(s) to meet the objections. The Application for approval of revised plan(s) will be considered and disposed of in the manner as it were a fresh Application.

## 9. REGISTRATION OF APPLICATION

  - An Application submitted under Regulation 2(2.1) of chapter-3 shall be registered, if accompanied by the documents mentioned therein, and disposed of as early as possible, but not later than thirty days from the date of the registration of an application, and if no order is passed on any such application within sixty days of its registration, it shall be deemed to have been sanctioned to the extent to which it does not contravene provisions of these Bye-Laws or Master Plan.

  - If on scrutiny, Application is rejected, buyer and/or lessee shall be informed in writing of the grounds of rejection, within a period of sixty days. The buyer and/or lessee shall then remove the causes of rejection and re-submit the Application with the amended plans or specifications as the case may be, to the Building Control Engineer.

## 10. REPAIRS

## 10.1 No application is required for the following repairs or erections, etc. subject to the condition that they do not infringe any of these Bye-Laws:-

- repairs in the form of replacement of existing materials by a similar material if no demolition is involved and the building remains throughout the operation substantially the same as it was;

- replacement of internal windows or doors.

## 11. FEES AND PENALTIES

  - The PASDEC shall charge for the scrutiny of building plans required to be submitted under these Regulations and other matters arising during the disposal of plans or in course of its construction, a fee to be known as “Scrutiny Fee” at rates specified in Appendix ‘A’ and in such manner as may be fixed from time to time.

  - The PASDEC may compound and impose penalties for violation of the provisions of these regulations at such rates and in such manner as may be fixed from time to time.

APPENDIX – A

FEES:

PASDEC shall charge fee for the possession of plots and scrutiny of building plans required to be submitted under these building regulations & other matters arising during the disposal of the plans or course of its construction, at rates specified as follows subject to revision from time to time.

POSSESSION CHARGES

| Serial | Plot Size Up To | Fee ( Rupees ) |
| --- | --- | --- |
| 1 | Up to 0.5 Acre | 5,000 |
| 2 | Above 0.5 & less than 1.0 Acre | 10,000 |
| 3 | Above 1.0 & less than 2.0 Acre | 15,000 |

BUILDING PLANS SECRUNITY FEE

| 1 | First & revised plan | Rs. 3/Sft. of covered area |
| --- | --- | --- |
| 2 | Plan Revival Fee | Rs. 4/Sft. of covered area |
| 3 | Addition & Alteration Plan | Rs3/Sft. Of covered area being altered & added |

COMPOSITION CHARGES

| Serial | Nature of Deviation | Penalty |
| --- | --- | --- |
| 1 | Unauthorized & illegal construction that forms an integral part of the authorized building but violates space regulations. One the ground floor On the first & subsequent floors | Rs 30/Sft. Rs.45/Sft. |
| 2 | Unauthorized & illegal construction that violates space regulations & does not form an integral part of the authorized building. | DEMOLATION |
| 3 | Unauthorized construction that does not violate space regulations but in excess of the limits prescribed for covered areas. | Rs.20/Sft. on ground floor Rs.25/Sft. on first & subsequent floors. |
| 4 | Unauthorized & illegal construction in excess of the prescribed height limits. | Rs.20/Sft. |
| 5 | Unauthorized & illegal construction of storey’s or part of storey’s in excess of the number of authorized storey’s. | Rs.45/Sft. |
| 6 | Unauthorized construction of inter floors that reduce in whole or part of the minimum height prescribed. | Rs.30/Sft. |
| 7 | Unauthorized construction of projections | Rs.30/Sft. |
| 8 | Construction in any form included excavation etc prior to approval of plans | Rs.10, 000/Acre of plot, plus Rs.20, 000/Day if construction is continued after services of notice. |
| 9 | Unauthorized change in character or use of a building or part thereof. | Demolish without any compensation and may result in cancellation of plot with fine. |
|  | Unauthorized dumping / amassing of Slurry / any material outside the Boundary Wall | Cost of Removal+ Rs.10,000 |

  - Development Charges

| 1 | Drainage Connection Charges | Rs. 40,000/- |
| --- | --- | --- |
| 2 | Water Supply Connection Charges | Rs. 40,000/- |

  - The Construction cost of Marble City boundary wall will be borne by LESSEE.

  - The Construction of the Entrance Ramp of the plot will be the responsibility of LESSEE as per approved design by PASDEC

# CHAPTER 4.

# ENGINEERING DESIGN REQUIREMENTS OF BUILDINGS

## 12. SITE INVESTIGATION

## The preparation of the site will depend on the findings of the site investigation. The site investigation will usually include intrusive and non-intrusive sampling and testing to provide soil parameters for design and construction.

## The extent and level of investigation needs to be tailored to the type of development and the previous use of land. Typically the site investigation should include susceptibility to ground water levels and flows, underlying geology, and ground and hydro-geological properties. A geotechnical site investigation should identify physical hazards for site development, determine an appropriate design, and provide soil parameters for design and construction.

## Where there is a risk that groundwater beneath or around the building could adversely affect the stability and properties of the ground, consideration should be given to site drainage or other site protection measures.

## 13. SITE PREPARATION

## 13.1 The ground to be covered by the building shall be reasonably free from any material that might damage the building or affect its stability, including vegetable matter, topsoil and pre-existing foundations.

## Reasonable precautions shall be taken to avoid danger to health and safety caused by contaminants on or in the ground covered or to be covered by the building and any land associated with the building.

## Adequate sub-soil drainage should be provided if it is needed to avoid-

  - the passage of ground moisture to the interior of the building;

  - Damage to the building, including damage through the transport of water-borne contaminants to the foundations of the building.

  - For the purpose of this requirement, “contaminant” means any substance which is or may become harmful to persons or buildings including substances, which are corrosive, explosive, flammable, radioactive or toxic.

  - A wide range of solid, liquid and gaseous contaminants can arise on sites, especially in those that have had a previous industrial use. In particular, the burial of biodegradable waste in landfills can give rise to land filled gas. Sites with a generally rural use such as agriculture or forestry may be contaminated by pesticides, fertilizers, fuel and oils and decaying matter of biological origin.

  - Sulfate attack affecting concrete floor slabs and over site concrete associated with particular strata also needs to be considered.

  - A Disclaimer: PASDEC shall not be responsible for any sort of structural failure and loss occurred of whatsoever nature due to this structural failure.

14. EARTHQUAKE RESISTANT DESIGN

14.1 The structural design of buildings and its individual elements shall conform to the requirements of the applicable codes for resisting earthquake forces such as per Pakistan Building Code 2007 etc.

  - The seismic zone factor for buildings shall be kept in view considering the Seismic Zone Map of Pakistan.

15. STRUCTURAL DESIGN

15.1 LOADS

The following basic loads shall generally be taken into account, as a minimum:

  - Dead loads

  - Live loads

  - Earth pressure

  - Pressure of water and other liquids

  - Wind loads, where they govern the design

  - Seismic loads

  - Any other loads as are relevant

  - ADDITIONAL LOADS TO BE INCLUDED IN SPECIAL CASES

The following loads shall additionally be taken into account, where there is reasonable probability of their occurrence or in cases where the applicable codes require that they should also be considered:

- Explosion (state the specific risk specified)

- Impact (state the specific risk specified)

- Affects of equipment (state the specific characteristics of the equipment intended to be placed)

- Removal of support(s) (state the specific facts of the case when undertaking modification(s) of an existing building).

  - COMPLIANCE TO DESIGN CODES

The structural design of building(s) shall meet the requirements of the specified or latest, editions of the following design codes.

- Uniform Building Code, 1997 Edition, International Conference of Building Officials, USA

- International Building Code, 2000 Edition, International Code Council, USA

- Building Code of Pakistan

- Building Code Requirements for Structural Concrete (ACI 318-99) and Commentary (ACI 318 R-99), American Concrete Institute, USA

  - STRUCTURAL DRAWINGS

- Structural drawings shall show all details/ information required.

- Drafting shall follow the generally accepted conventions.

- All drawings shall be numbered and revision numbers with dates shall be clearly marked.

- Specific values of the various geotechnical parameters adopted.

- Specific values of the various parameters adopted for computation of the earthquake loads and the code of practice followed.

- Specific values of the various parameters adopted for computation of the wind loads and the code of practice followed

- Live loads as per the latest code for each floor

- Uniformly distributed and other dead loads as per the latest code for each floor.

- A description of partitions at each floor and the loading adopted to account for them.

- Structural drawings shall bear the seal and signatures of the structural engineer.

16. GEO-TECHNICAL INVESTIGATIONS

The Geotechnical investigations shall be done in the light of the specific details of the building, the order of loads and special requirements, if any. The scope and quantum of testing shall be consistent with the applicable parameters of the project.

17. TESTING OF CONSTRUCTION MATERIALS

17.1 	The Authority may require the testing of any materials used in construction to determine if materials are of the quality specified.

17.2 	Tests of materials shall be done by an approved agency at the cost of the builder. Such tests shall be done in accordance with the prevailing standards.

17.3 	A complete record of tests of materials and of concrete shall be available for inspection during the progress of work.

## 18. UNSUITABLE MATERIAL

18.1 	Vegetable matter such as turf and roots should be removed from the ground to be covered by the building at least to a depth to prevent later growth. The effects of roots close to the building also need to be assessed.

18.2 	Where mature trees are present on sites with shrinkable clays the potential damage arising from ground heave to services and floor slabs and over site concrete should be assessed. Building services such as below-ground drainage should be sufficiently robust or flexible to accommodate the presence of any tree roots. Joints should be made so that roots will not penetrate them. Where roots could pose a hazard to building services, consideration should be given to their removal.

18.3 	On sites previously used for buildings, consideration should be given to the presence of existing foundations, services, buried tanks and any other infra-structure that could endanger persons in and around the building and any land adjacent the building.

18.4 	Where the site contains fill, consideration should be given to its compressibility and its potential for collapse on wetting, and to appropriate remedial measures to prevent damaging differential settlement.

## 19. RESISTANCE TO MOISTURE

The floors, walls and roof of the building shall adequately protect the building and people who use the building from harmful effects caused by:

a.	Ground moisture; and

b.	Precipitation

## 20. FLOORS

## 20.1 	Floors next to the ground should:

- Resist the passage of ground moisture to the upper surface of the floor;

- Not be damaged by moisture from the ground;

- Not be damaged by groundwater;

  - Any ground supported floor will meet the above requirements if the ground is covered with dense concrete laid on a hardcore bed and a damp-proof membrane is provided.

  - A concrete ground supported floor may be provided with damp-proof membrane above or below the concrete, and continuous with the damp proof courses in walls, piers and the like. If the ground contains water soluble sulfates, or there is any risk that sulfates or other deleterious matter could contaminate the hardcore; the membrane should be placed at the base of the concrete slab.

## 21. WALLS

21.1 	Walls should:

- resist the passage of moisture from the ground to the inside of the building; and

- not be damaged by moisture from the ground and not carry moisture from the ground to any part which would be damaged by it, and, if the wall is an external wall:

- resist the penetration of precipitation to components of the structure that might be damaged by moisture; and

- resist the penetration of precipitation to the inside of the building.

21.2. 	An internal or external wall will meet the requirements if it is built as follows:

- Damp-proof course of bituminous material, polyethylene, engineering bricks or slates in cement sand mortar or any other material that will prevent the passage of moisture. The damp proof course should be continuous with any damp-proof membrane in the floors; and

- If the wall is an external wall, the damp-proof course should be at least 150mm above the level of the adjoining ground, unless the design is such that a part of the building will protect the wall.

  - As well as giving protection against moisture from the ground, an external wall should give protection against precipitation. This protection can be given by a solid wall of sufficient thickness or by an impervious or weather-resisting cladding.

  - Any solid wall will meet the requirement if it will hold moisture arising from rain until it can be released in a dry period without penetrating to the inside of the building, or causing damage to the building.

  - Cladding systems for walls should:

- Resist the penetration of precipitation to the inside of the building; and

- Not be damaged by precipitation and not carry precipitation to any part of the building which would be damaged by it.

  - Cladding can be designed to protect a building from precipitation (often driven by the wind) either by holding it at the face of the building or by stopping it from penetrating beyond the back of the cladding.

  - Any cladding will meet the requirements if:

- It is jointless or has sealed joints, and is impervious to moisture (so that moisture will not enter the cladding); or

- It has overlapping dry joints, is impervious or weather resisting, and is backed by a material which will direct precipitation which enters the cladding towards the outer face.

  - All load bearing walls shall be designed according to applicable buildings code(s) with regard to their load bearing capacity. The walls shall be constructed of non combustible material only, as approved by PASDEC and its engineer.

  - All partitions and panel walls shall be of such thickness and strength as to ensure against breakage due to vibration produced by machines installed near these walls.

  - The number and width of doors shall be sufficient to facilitate movement of machinery, and the escape of workers in case of fire.

  - There shall be proper and prominent fire escape routes for the workers.

  - The finishing of outside faces of walls and columns shall comply with the approved plans and elevations.

## 22. ROOFS

## 22.1 Roofs should:

- Resist the penetration of precipitation to the inside of the building; and

- Not be damaged by precipitation and not carry precipitation to any part of the building which would be damaged by it.

  - Roofing can be designed to protect a building from precipitation either by holding the precipitation at the face of the roof or by stopping it from penetrating beyond the back of the roofing system.

  - Any roof will meet the requirements if:

- It is joint less or has sealed joints, and is impervious to moisture (so that moisture will not enter the roofing system); or

- It has overlapping dry joints, is impervious or weather resisting, and is backed by a material which will direct precipitation which enters the roof towards the outer face (as with roofing felt).

# CHAPTER 5

## BUILDING AND PLANNING CONTROL REQUIREMENTS

23. Residential use of plots or part thereof, or the building raised thereon shall not be allowed inside the industrial block except for watchmen and night shift staff. It is mandatory to develop minimum 10% of the covered area as kitchen, mess and accommodation space for factory workers.

24. Mandatory Open Spaces and Ground Coverage shall be as follows:

## BUILDING REQUIREMENTS

  - Residential use of plots or part thereof, or the building raised thereon shall not be allowed inside the industrial block except for watchmen and night shift staff.

  - a) 	The built-up area shall not exceed 66% of the total plot area in any case.

b)	Total covered area of office building shall not exceed 3000 sq.ft.

  - Maximum height of Shed should be forty feet (40 ft.).

## FRONT SPACE

  - (A). 8 Kanal & 4 Kanal

There shall be a clear distance of 20 feet between front boundary wall and building line, shown in the Master plan, provided the facility for entrance, exit, light and ventilation, sewerage, water supply etc. are not disturbed. In case of some local restrictions due to configuration of the plot, special permission will be sought from the BOM/PASDEC for reduction in front space. As per drawings shown in Annexure–A.

(B). 2 Kanal and below

There shall be a clear distance of 15 feet between front boundary wall and building line, shown in the Master plan, provided the facility for entrance, exit, light and ventilation, sewerage, water supply etc. are not disturbed. In case of some local restrictions due to configuration of the plot, special permission will be sought from the BOM/PASDEC for reduction in front space. As per drawings shown in Annexure–A.

## SIDE SPACE

  - (A). 8 Kanal & 4 Kanal

A minimum clear distance of 10 feet in case of single storey building, 15 feet in double storey building and 20 feet in other multistory building from the center line of the side common boundary wall and side building line shall be left. As per drawings shown in Annexure–A.

(B). 2 Kanal

A minimum clear distance of 8 feet in case of single storey building, 10 feet in double storey building and 15 feet in other multistory building from the center line of the side common boundary wall and side building line shall be left. As per drawings shown in Annexure–A.

## BACK SPACE

  - (A). 8 Kanal & 4 Kanal

A minimum clear distance of 10 feet in case of single storey building, 15 feet in double storey building and 20 feet in other multistory building from the center line of the side common boundary wall and back building line shall be left. As per drawings shown in Annexure–A. Waste water treatment – Silo diagram and 10 feet dia shall be built as per provided design by PASSDEC back set where stacking of materiel shall not been allowed.

(B). 2 Kanal

A minimum clear distance of 8 feet in case of single storey building, 12 feet in double storey building and 15 feet in other multistory building from the center line of the side common boundary wall and back building line shall be left. As per drawings shown in Annexure–A. Waste water treatment – Silo diagram and 10 feet dia shall be built as per provided design by PASSDEC back set where stacking of materiel shall not been allowed.

Note: The enforcement of 24.4 clauses A and B is subject to variation of 0.5 Kanal from upper limit area of plot accordingly.

## 25. HEIGHT OF BUILDING

## A minimum height of 12’-0” must be provided from the level of floor to the underside of ceiling.

## No building shall contain more than three stories in addition to basement and the overall height of building measured from plinth level to the parapet wall shall not exceed 25ft and factory shed area not exceeding 40 ft. including shed.

## No combustible material other than allowed by PASDEC shall be allowed for construction work.

## The steel used in construction, shall conform to the latest editions of Pakistan Standards, British Standards, American Concrete Institute Standards, American Society for Testing and Materials Standards and other standards as may be specified by the Engineer for special materials and construction are also relevant.

## Where R.C.C. is used, the materials shall conform to standard specifications applicable to the type of concrete and shall conform to the latest editions of Pakistan, British, ASTM, and ACI Standards.

## 26. DESIGN AND ELEVATIONS

## The design and elevations of building shall conform to the type of design and elevations, approved by PASDEC. The materials used in construction, its texture, color, finishing shall be approved by PASDEC. Such approval shall be obtained thirty (30) days prior to the initiation of construction.

## If required, separate boundary walls instead of a shared one can also be constructed, provided the design requirements of PASDEC are followed.

## 27.  BUILDING STRUCTURES

## Every buyer and /or lessee who undertakes construction of building(s) shall be responsible for the material used therein. The responsibility for the structural stability of a building rests with buyer and/or lessee.

## A buyer and/or lessee shall undertake calculation and construction of each floor of the building(s) in a manner to ensure sufficient strength and safety with respect to the loads, expected to come on them.

## Extra precautionary measures shall be taken in the building(s) wherein heavy machinery or machines producing vibrations, are required to be installed.

## 28. FOUNDATION

## The foundation of building(s) shall be designed on the basis of prevailing strata, by a registered engineer. The engineer shall certify the soundness of foundation.

## The site or any part thereof on which building(s) is proposed to be constructed and workers shall have to work, will be raised  not more than one foot from the ramp level entering to the plot.

## The surface of the plinth protection shall not be less than 9 inches above the highest finished level of adjoining road with sufficient slope to ensure proper drainage unless other adequate means of drainage have been provided.

## Building(s) must be provided with a damp proof course at plinth/floor level.

## The floor of building(s) shall be constructed in accordance with the expert advice to be obtained by buyer and/or lessee for protection against impact, abrasives, vibration and chemicals, termite, fire, etc. The buyer and/or lessee shall communicate the written expert advice to PASDEC.

## 29. STAIRS AND ELEVATORS

## The stairs shall be wide enough to facilitate necessary and proper movement of workers and machines. Building (s), which is more than 3 stores high, shall have elevators in addition to stairs for the said purpose. The stairs and elevators shall be properly illuminated and ventilated and shall be fire-proof, with a minimum width of 4 feet, width of tread and height of riser shall be 12 inches and 6 inches respectively. The treads shall be of non-skid finish and supported by continuous hand rail. The headroom clearance measured vertically above any landing or the nosing of any stair tread shall be at least 6.75 ft.

## 30. BASEMENT

Basement in the building(s), if any, shall be constructed with water-proof walls. The floor space of the basement shall not extend beyond the limits of ground floor. The basement should be properly ventilated at all times and will not house any kitchen or toilet facility.

## 31. STORAGE OF EXPLOSIVES

The lessee shall obtain permission from the Inspector of Explosives for storage of explosives in the building and shall inform PASDEC.

## 32. FRONT BOUNDARY WALL

## The design of the front boundary wall with entrance gate of the plots will be provided by PASDEC. It will be the responsibility of the lessee/buyer to construct it strictly as per provided design.

## 33. PERIMETER BOUNDARY WALL

PASDEC will construct the perimeter boundary wall of the Marble City. The cost of perimeter boundary wall shall bear of lessee.

## 34.1. WATER RECYCLING / SLURRY DISPOSAL

Industrialist will construct water recycling / slurry disposal adjacent to back boundary wall for collection of Marble waste as per enclosed drawing. Lessee shall make sure to install water recycling and slurry disposal as per guideline provided by PASDEC.

## 35. RAMP FOR DISABLED PERSONS

In all the commercial buildings, public buildings and apartments a ramp of minimum 6ft. width should be provided.  In case of non-provision of lifts, each floor should be accessible through this ramp.  A washroom for disabled must also be provided.

## 36. COMMON BOUNDARY WALL

The design of the boundary walls will be provided by the PASDEC. Buyer and or lessee will be responsible to construct the walls according to the design provided. The cost of the common walls will be shared on prorate basis by the plot owners and PASDEC will ensure that the cost is refunded to one who had constructed the wall. PASDEC will periodically update the estimate of these walls and its decision on cost will be final and binding on all parties.

## 37. MISCELLANEOUS

## No construction is allowed in the areas which are left open to sky as mentioned in referred clauses.

## A sun shade not projecting more than 3 ft. (90cm) in a building having a minimum of 20ft. (3m) open space all round the building within its compound and not more than 1 ft. 6 inch (45cm) in a building having less than 20ft. (3m) open space at a height of not less than 7 ft. (2.2m) clear above the plinth.

## The maximum area for the security office/ gate office should not exceed 100 Sft, any variation must be approved by PASDEC.

## The construction of mosque within the factory area is allowed but not in the compulsory vacant strips. The building plan shall indicate the place of mosque in the building.

## No antennas/tower shall be constructed/erected in the plots/commercial areas.

## Storage of construction material is not allowed on the ROW of road.

## Completion Certificate will be issued after the final visit of BCD staff to check the utilities network and to ensure that the industry is properly functional.

## Submission of Landscaping Work plan for open spaces of Factory premises.

# CHAPTER 6

INSPECTIONS DURING CONSTRUCTION

38. BCD staff shall carry out field visits to inspect the construction sites as given in the following schedule:

| Visit 1 | At DPC level |
| --- | --- |
| Visit 2 | Roof slab 01 |
| Visit 3 | Roof slab 02 |
| Visit 4 | Final inspection regarding NOC for utility connections |

Depending upon the number of storeys of the building(s), subsequent visits will be carried out to check the roof slabs.

39. INSPECTION FOR UTILITY CONNECTIONS

Upon completion of building(s) of a new industrial setup according to approved plans, the applicant should contact PASDEC to conduct final inspection of the factory to confirm suitability of its different in house network lines such as sewerage, water supply, gas and electricity for issuance of no objection certificate (NOC). Once Building Control Engineer Issues NOC to customers, related staff will proceed for connections.

40. The structural engineer of the consultants /customer must inspect the site after completion of construction and submit certificate.

## 41. POWER TO SEAL

## The PASDEC or any authorized representative of the Marble City shall give a notice in writing regarding the sealing of the premises with the approval of the BOD on any of the following grounds:

    - If the building has become structurally dangerous.

    - If the building is illegally constructed and/or there are serious deviations from the sanctioned plan(S).

    - If adequate fire fighting arrangements have not been provided.

    - If standard arrangements for adequate pre-treatment of effluents have not been provided or are not working affectively.

## 42. POWER TO ISSUE INSTRUCTIONS

## The PASDEC or its authorized representative may issue instruction to the owner / occupants of the building whose violate the building regulations / by laws. In case the owner / occupier fails to comply with the instruction, the PASDEC can disconnect the basic utilities like electricity, water, etc.

Management of the Common Utility Areas:  In case the owner/occupant fails to comply with the instructions then the PASDEC can undertake the work at the risk and cost of the occupier/owner.

## CHAPTER 7

HEALTH, SANITATION, DRAINAGE, WATER SUPPLY AND

PRECAUTIONS AGAINST FIRE

## 43. LIGHT AND VENTILATION

## For light and ventilation, in every building, there shall be adequate window/ ventilation areas. The amount of these openings shall not be less than 1/12th of the floor area of the building or 0.5 sqm or 5 sq. ft. for each person required to work in such room(s), whichever is maximum.

## In all buildings, cross-ventilation shall be provided except in case of building(s), which require to be centrally air-conditioned.

## Every room or place where employees will work shall be adequately ventilated so that no air stagnancy occurs.

## Wherever there is possibility of such air stagnancy as mentioned above, exhaust fan(s) shall be provided.

## All places in building(s), where any person shall work or attend from time to time, shall have sufficient light facilities so that persons working there will not have eye strains.

## Light fixtures, wherever provided, shall be so located so as not to affect directly, the eyes of workers.

## All bath rooms, lavatories, and water closets shall have ventilation, in or close to the ceiling, opening direct to the outer air. Area of bath room and water closet should not be less than 25 square feet and 20 square feet respectively.

## 44. LATRINE AND URINALS

## Every latrine or urinal should be constructed and properly maintained so that smell does not disturb the local and adjacent environment, nor should any of its seat(s) be visible from the street when the outer door is opened.

## The walls of every latrine or urinal shall be plastered with cement or covered with an impervious material to a height of at least four feet above the floor level.

## Every latrine and urinal shall be provided with a drain, and such drain shall be constructed of glazed pipes or other impervious material and shall connect the floor of the latrine or urinal with the City sewer through a manhole(s).

## Every factory shall be provided with the following number of water closets and urinals.

| Fitment | For male personnel | For female personnel |
| --- | --- | --- |
| Water Closets Note: A cleaners sink should be fitted adjacent to sanitary accommodation (CP305) | One for 1-15 persons Two for 16-35 persons Three for 36-65 persons Four for 66-100 persons From 101-200 add at the rate of 3% For over 200 add of the rate of 2½% | One for 1-12 persons Two for 13-25 persons Three for 26-40 persons Four for 41-57 persons Five for 58-77 persons Six for 78-100 persons From 101-200 add at rate of 5% For over 200 add at rate of 4% |
| Urinals | Nil up to 6 persons One for 7-20 persons Two for 21-45 persons Three for 46-70 persons Four for 71-100 persons From 101-200 add at rate of 3% For over 200 add at rate of 2.5% | Nil |

  - The urinals and latrines required to be provided under section-11 above shall be located at an accessible place within the precincts of the factory and each latrine shall be separated from an adjoining latrine by a partition wall not less than six(06) feet in height.

  - If female workers are employed, separate latrines screened from those for males and marked in vernacular in bold letters “For Females only” shall be provided in the same manner as described in section-11 above. Those for males shall be similarly marked “For Males only”. Plates showing figure of a man, or of a woman, shall also be exhibited at the entrance of the latrine for each gender.

## 45. BATHING AND WASHING ACCOMMODATION

In every factory, at least two (02) washbasins for the use of twenty persons and an additional one (01) washbasin for every additional twenty persons or less shall be provided for the washing of workers.

## 46. SANITATION AND DRAINAGE

## On every plot, there shall be paved surface drains for disposal of surplus water. These surface drains shall be regularly flushed at least once a day.

## No obnoxious sewerage or fumes shall be discharged into open atmosphere or surface drains.

## The plumbing system for the sewerage shall be connected with sewerage system of the City or any other arrangement approved by PASDEC. Industrial wastes or effluents shall be pre-treated to a level as approved by PASDEC and standards laid by the EPA, before disposal into sewerage system or any other arrangement provided. Minimum pre-treatment will be in the form of an approved size/shape of a Solid Retention Tank / Septic Tank (Please refer to Pakistan Environmental Protection Act (PEPA) 1997).

## Manholes shall be provided in the underground sanitary lines at all bends and connections of different sizes of pipes. No manhole shall be left open.

## The height of the vent pipes shall be not less than four (04) feet higher than the buildings with which the vent-pipes are attached.

## The buyer and/or lessee of the plot shall, with due approval of PASDEC, make arrangement for disposal of its waste water into the sewerage / drainage system of the Marble City. Provision of Solid Retention Tank / Septic Tank prior to discharge into the Marble City’s sewerage is obligatory. The design of Solid Retention Tank / Septic Tank will be subject to approval of PASDEC. The minimum hydraulic retention time of the Solid Retention Tank / Septic Tank shall be 02 hours at the average waste water flow being discharged by the industry.

## No water from roof(s) of building(s) shall be allowed to be drained into the neighboring plots(s)/building(s). Gutters and rain water pipes shall be provided for the drainage of water from roofs(s), wherever necessary.

## Wherever a drain is passing beneath floor, it must be properly constructed with gas-tight cast iron pipes.

## No heavy toxic matter shall be released into the sewerage system of the Marble City.

## 47. SOLID WASTE STORAGE

47.1Every plot shall have adequate means of storing solid waste for a minimum of 24 hours generation.

  - The plot lessee shall provide adequate means of access:

- for people  in the building to the place of storage; and

- from the place of storage to collection point (inside the factory premises/plot)

- for waste collection people for collecting the waste from collection point.

  - The Solid waste storage/collection point shall be:

  - designed and sited so as not to be injurious to health;

  - of sufficient area having regards to the requirements of the Marble City;

  - easily accessible for collection by PASDEC.

  - PASDEC will give schedule to industries for collection of solid waste.

  - PASDEC will require:

  - Hazardous waste of certain types to be stored separately;

  - plot lessees to provide containers of a specified type for storage of waste;

  - additional containers to be provided for separate storage of recyclable waste;

  - locations where containers should be placed for emptying.

  - The access provided for removal of waste shall not be obstructed by any means.

  - PASDEC shall levy charges for the above services.

## 48. 	Waste treatment plants and disposal works shall be provided in accordance with the design and construction requirements of industries department and Environmental Protection Agency (EPA). Waste treatment plant and disposal station shall not be constructed in the mandatory open spaces.

## 49. FIRE SAFETY

  - The provisions set out in this document deal with different aspects of fire safety for the completed building with the following aims:

  - To ensure satisfactory provision of means of giving an alarm of fire and a satisfactory standard of means of escape for persons in the event of fire in a building(s).

  - That fire spread over the internal linings of building(s) is inhibited.

  - To ensure the stability of building(s) in the event of fire; to ensure that there is a sufficient degree of fire separation within buildings and between adjoining buildings; and to inhibit the unseen spread of fire and smoke in concealed spaces in buildings.

  - That external walls and roofs have adequate resistance to the spread of fire over the external envelope, and that spread of fire from one building to another is restricted.

  - To ensure satisfactory access for fire appliances to buildings and the provision of facilities in buildings to assist fire fighters in the saving of life of people in and around buildings.

  - The provisions however do not address the risk of fire during the construction work which should be addressed appropriately by lessee as per Factories Act, 1934 as amended from time to time by Government of Pakistan.

  - Provisions of Part – 4 of Building Code of Pakistan must be followed while incorporating fire safety measures.

  - All air conditioning or ventilation ducts including framing shall be constructed entirely of non-inflammable materials and shall be adequately supported throughout their length.

  - Where ducts pass through floors or walls, the space around the duct shall be sealed completely with non-inflammable materials to prevent the passage of flames and smoke.

  - The air intake of any air-conditioning apparatus shall be so situated that air does not re-circulate from any space in which objectionable quantities of inflammable vapors or dust are given off and shall be so situated as to minimize the drawing of inflammable material or other fire hazards.

  - Where the duct systems serve two or more floors of a building or pass through walls, approved fire dampers with fusible links and access doors shall be located at the duct opening and such dampers shall be so arranged that the disruption of the duct will not cause failure to protect the opening.

  - Every industrial building shall be provided with sufficient means for extinguishing fire in the shape of:-

  - Fire extinguishers

  - Sand filled buckets.

  - An independent water supply system in pipes of steel or cast iron with adequate system of hydrants, pumps and hose reels.

  - A separate overhead water tank to be provided for fire fighting.

  - Separate fire exit stairs.

  - Fire Alarm System

  - First Aid Box

  - Smoke masks

  - Breathing apparatus

  - PASDEC shall require accreditation or certification by fire fighting department of City District Government to ensure requisite performance of materials, systems, products etc. before issuance of Completion Certificate.

  - No external wall and no covering of a roof shall consist of wood, cloth, canvas, leaves, mats, grass or any other inflammable or combustible material.

  - Every factory shall be provided with:

    - Latest firefighting equipment conforming to the standards of local Building Code/Pakistan Standards.

    - Ample supply of water maintained at the pressure sufficient to reach all parts of the factory building, together with necessary hose pipes and hydrants, the number and location of which shall be as per the approved plan.

  - Chemical fire extinguishers approved by Pakistan Standards / Local Building Code will be installed as per following standards;

- Each floor shall be provided with at least two (02) chemical fire extinguishers.

- All such fire fighting extinguishers /apparatus shall be kept in good order and periodically examined and tested.

  - Every multi storied building shall be provided with escalators and at least two(02) sets of stairs, one of which shall be on the outside of the building so as to afford direct and unimpeded access to the ground level from every part of the building, in case of fire. The stairs shall be permanently fixed and made of non combustible material and shall be provided with suitable and sufficient hand rails.

  - Necessary directions shall be issued to the owners of the industrial buildings to hold/arrange fire fighting drills at frequent intervals but not less than twice a year in consultation with the Fire Fighting Department of City District Government.

## 50. MEANS OF WARNING AND ESCAPE

## 50.1 	The building shall be designed and constructed so that there are appropriate provisions for the early warning of fire, and appropriate means of escape in case of fire from the building to a place of safety outside the building capable of being safely and effectively used at all times. The requirement will be met if:

## there are routes of sufficient number and capacity, which are suitably located to enable persons to escape to a place of safety in the event of fire;

## the routes are sufficiently protected from the effects of fire by enclosure where necessary;

## the routes are adequately lit;

## the exits are suitably signed; and if

## there are appropriate facilities, to either limit the ingress of smoke to the escape route(s) or to restrict the fire and remove smoke;

## all to an extent necessary that is dependent on the use of the building, its size and height;

## there is sufficient means for giving early warning of fire for persons in the building;

## that there are alternative means of escape from most situations; and

## where direct escape to a place of safety is not possible, it should be possible to reach a place of relative safety, such as a protected stairway, which is on a route to an exit, within a reasonable travel distance.

## The following are not acceptable as means of escape:

## Lifts (except for a suitably designed and installed evacuation lift that may be used for the evacuation of disabled people, in a fire);

## Portable ladders and throw-out ladders; and

## Manipulative apparatus and appliances: e.g. fold down ladders and chutes.

## Escalators should not be counted as providing predictable exit capacity. Mechanized walkways could be accepted, and their capacity assessed on the basis of their use as a walking route, while in the static mode.

## Since it may not be necessary to incorporate special structural measures to aid means of escape for the disabled, therefore management arrangements to provide assisted escape may be all that is necessary.

## 51. WATER SUPPLY AND DRINKING WATER

All buyer and/or lessee of the City shall be allowed to make use of the common water supply system laid in the Marble City for their water requirements. The buyer and/or lessee shall not be permitted to install hand pump(s) or tube-wells(s) within the premises of building(s), except in case(s) where the water requirement of a single unit is beyond the resources of the common water supply system, for which special prior permission of PASDEC is required.

## 52. HEALTH AND SAFETY

## 52.1 	There shall be provided for each person working in any room of a factory, a floor area of at least thirty six (36) square feet (3 sqm), and exclusive of the area occupied by machinery and breathing space of at least:

## a) 700 Cft (20 m3) where mechanical or electrical power is used;

## b) 500 Cft (15 m3) where no mechanical or electrical power is used;

## c) For the purpose of calculating breathing space available under this Section, no space above six (06) feet from the floor shall be taken into consideration.

  - All kinds of power connections shall be installed in the manner so as to avoid any injury or harm to any person.

  - No part of building structure like staircase, beams, balconies, or any other projections shall be placed in a manner likely to cause Bodily injury to any of the workers or cause inconvenience in free movement.

## 53. ELECTRICAL SAFETY

53.1 Reasonable provision shall be made in the design, installation, inspection and testing of electrical installations in order to protect persons from fire or injury.

  - Sufficient information shall be provided so that persons wishing to operate, maintain or alter an electrical installation can do so with reasonable safety.

  - Electrical systems must be designed and installed to afford appropriate protection against mechanical and thermal damage, and so that they do not present electrical shock and fire hazards to people;

  - Electrical systems must be suitably inspected and tested to verify that they meet the relevant equipment and installation standards.

  - A way to satisfying the fundamental principles would be to follow:

i)  	Building Code of Pakistan, Electricity Rules 1937 as adopted and modified from time to time by Government of Pakistan, Pakistan Standards Institutions or Regulations for the Electrical Equipment to Buildings by Institution of Electrical Engineers (IEE), London.

ii)  Guidance given in installation manuals that is consistent with IEE on-site guide, the series of Pakistan Standards Institutions, IEE publications, Guidance Note Nos. 1 to 7.

# CHAPTER 8

## COMPLETION OF BUILDINGS

    - The lessee shall after 90 days of 100%(hundred percent) completion of buildings according to approved plans and coming into production, report in writing of such completion to PASDEC, who will issue completion certificate to that effect.

The applicant must provide a certificate from the fire fighting department of the City District Government regarding provision and adequacy of fire fighting arrangements prior to issuance of completion certificate.

    - Every such building to which completion certificate has been issued shall be inspected by Building Control Engineer and if it is found to have been constructed in violation or contravention of any provisions of these Bye-Laws, the BCE may, with approval of PASDEC, require the building or any part thereof to be demolished.

    - If the building or any part thereof is found to be in a state which is likely to cause damage or is dangerous in any manner whatsoever to worker(s) or the neighboring building(s), the BCE may issue notice requiring the buyer and/or lessee to either demolish or repair such part within the time specified in the notice. A copy of such notice shall be forwarded to office of PASDEC.

    - If a building is required to be demolished and such requirement is not completed within the specified period, the BCE may, with the prior approval of the PASDEC, have the building demolished through his own agency and the cost incurred thereon shall be paid by the buyer and/or lessee.

# CHAPTER 9

ROLES AND RESPONSIBILITIES

BUILDING PROFESSIONALS

    - Various activities from design to construction of industrial building shall be undertaken by persons, as defined in these Byelaws/Regulations.

    - Every person shall be responsible for the discharge of his duties as per his prescribed role(s).

60. LESSEE

60.1 	The LESSEE shall engage the services of suitably qualified professionals for various stages of his project. In particular, the following professionals shall be engaged:

a) Consultants

- Architect

- Geotechnical Engineer

- Structural Engineer/Structural Engineer

- Electrical Engineer

- Public Health Engineer

- When so required for a project, an HVAC and Mechanical Engineer

b) Resident Engineer

c) Contractor(s)

60.2 	The owner shall enter into a contract with each of the above professionals, as applicable, and before the start of services of a professional, submit to PASDEC a written document signed by the owner and the respective professional, showing the agreed scope of the services for record.

60.3 	The Owner shall ensure that the Construction Contract shall duly allocate the required role to the above Consultants and Resident Engineer with all the attendant powers envisaged in the agreed documents as 66.2 above.

60.4 	In cases, where there is a change in the name or role of any professional engaged by the Owner/Professional, pursuant to these Byelaws/Regulations, the Owner shall promptly inform in writing to PASDEC. The work, assigned to that particular professional, shall remain suspended till such time that the name of a substitute is provided along with a copy of the contract.

61. CONSULTANTS

61.1 ARCHITECT

- An architect shall be an architect registered with the Pakistan Council of Architects and Town Planners (PCATP).

- The duty of an architect shall be to produce architectural designs and drawings and, where so required by his contract with his employer and for furnishing technical specifications.

- Architectural designs shall comply with these Byelaws/Regulations.

61.2 STRUCTURAL ENGINEER / VETTING STRUCTURAL ENGINEER

  - A structural engineer/vetting structural engineer shall be a consulting engineer, at the time of rendering his services; shall be a registered consulting engineer with PEC with 5 years experience as structural engineer or a consulting engineer with 10 years of professional experience .

  - A structural engineer shall be responsible for producing structural design drawings and, where so required by his contract with his employer and for furnishing technical specifications.

  - The structural designs shall comply with requirements of the Code specified under these Regulations.

  - All structural design reviews, when required under these Regulations shall be undertaken by a vetting structural engineer.

  - ELECTRICAL ENGINEER

- An Electrical Engineer shall be a consulting engineer registered with PEC, at the time of rendering his services; and shall have practiced this specialty as a registered professional engineer in electrical engineering for at least five years.

- An Electrical Engineer shall be responsible for producing electrical design drawings and, where so required by his contract with his employer, also for furnishing technical specifications.

- The Electrical Engineer shall be responsible for ensuring conformity to designs and drawings on the site.

61.4 HVAC AND MECHANICAL ENGINEER

a)    	An HVAC and Mechanical Engineer shall be a consulting engineer registered with PEC, at the time of rendering his services; and shall have practiced this specialty as a registered professional engineer in Mechanical Engineering for at least five years.

b)    	An HVAC and Mechanical Engineer shall be responsible for producing HVAC and mechanical designs/ drawings and, where so required by his contract with his employer and for furnishing technical specifications for various equipments, lifts and materials to be used.

61.5 PUBLIC HEALTH ENGINEER

a)   	A Public Health Engineer shall be a consulting engineer, registered with PEC at the time of rendering his services; and shall have practiced this specialty as a registered professional engineer for at least five years.

b)   	A Public Health Engineer shall be responsible for producing Public Health designs/ drawings and, where so required by his contract with his employer and for furnishing technical specifications.

62. TOP SUPERVISION BY ALL ABOVE CONSULTANTS

  - Each Consultant shall be responsible of providing Top Supervision to the extent of his designs, drawings and specifications proposed by him.

  - Each of the above Consultants shall visit the site at random intervals but at a frequency of not less than once in a fortnight during the construction period when work related to his services is in progress.

  - The Consultant shall record the date and time of his visit and his findings during the visit and send a copy to the Resident Engineer for record.

  - Whenever a Consultant suspects/finds that construction is not taking place according to his approved designs, drawings and specifications, he shall immediately inform, in writing the Owner, Resident Engineer and PASDEC.

  - In case the consultants do not inform PASDEC as per 80.4 above his case will be referred to the competent forum for blacklisting.

63. THE RESIDENT ENGINEER

The construction shall be supervised by a suitably qualified person, to be designated as the Resident Engineer in the Construction Contract, registered as a professional engineer, with PEC with 10 years experience in construction projects.

- The Resident Engineer shall:

- Render full-time on-site supervision of the project.

- Develop and implement a construction-site-safety program.

- Take all reasonable measures to adhere to all good engineering construction practices.

- Cause to employ reasonably trained staff, in respective fields, as and when required, for undertaking the supervision.

- Cause such testing and inspections to be carried out as are required, in his opinion, but such testing shall in no case be less than that prescribed by the Uniform Building Code.

- Hold meetings with the contractor, owner and concerned consultants at suitable intervals, reviewing progress, quality and safety. Minutes of the said meetings shall be duly maintained.

- To maintain a complete set of all approved plans, designs, drawings and specifications at site.

- Maintain all the construction records for at least such period as has been specified in Regulations or till the date of the termination of his services, whichever is earlier.

- Promptly notify PASDEC and owner if in his view unsatisfactory construction is being taking place in violation of the approved designs, drawings and specifications.

- The construction records shall comprise such documents and information as would show that the construction proceeded in conformity to the designs, drawings and specifications and shall include the following:

k.1	      Progress record of construction activities

k.2  	Event report including weather condition, seismic tremors, wind, temperature and rain fall data.

k.3  	Record of the site presence of the key staff members of the Resident Engineer, Contractor(s) and Subcontractor(s), on a daily basis

k.4  	Record of Contractors and Sub-Contractors working on the site

k.5	Copies of all change orders

k.6  	Copies of as-built drawings, for only such elements where the construction has significantly deviated from the design/ drawings

k.7  	Record of all tests including a description of samples, storage, transportation, test results and acceptance notes, with dates.

k.8  	Records of all formal inspections made by the Resident Engineer, on a day-to-day basis, of the individual elements, with a checklist of parameters inspected and approved.

k.9  	Record of the minutes of periodic meetings made with the contractor/owner and consultants.

k.10      Record of all correspondence made.

k.11 	Record of visits of PASDEC officials and the consultants and copies of written instructions issued by them.

k.12 	Reports of all failures if any including a technical evaluation of the fact(s) and the action(s) taken.

k.13 	Reports of all accidents including a technical evaluation of the causes of accidents and the action(s) taken.

64. PASDEC

  - The field staff shall visit the site as prescribed under these Regulations.

  - The field staff shall ensure that the building is constructed as per sanctioned plans.

  - In case of any violation of approved plans & designs, action shall be taken as per these Regulations.

65. TESTING AGENCIES

  - All geotechnical investigation services shall be undertaken by contractors registered with the Pakistan Engineering Council, in this discipline.

  - In cases, where a particular laboratory does not possess the facility of undertaking a particular test, it shall be permitted for that laboratory to get that test executed by another laboratory possessing such facility and approved for executing that test or a class of tests.

  - Material testing shall be undertaken by a laboratory approved for executing a particular test or a class of tests.

66. CONTRACTOR

  - A project shall be undertaken by a contractor duly licensed by the Pakistan Engineering Council, for undertaking the particular category of work.

  - The contractor shall carry out his duties in a professional manner ensuring safety at the construction site and ensuring conformity to designs, drawings, specifications and good engineering construction practices.

  - The contractor/owner shall ensure that their respective workers/staff working at site are fully insured against any injury or death due to mishap.

  - The contractor shall employ reasonably skilled staff at the site, headed by a licensed professional as per requirements of PEC.

67. SUBSTITUTION OF BUILDING PROFESSIONALS

  - SUBSTITUTION OF A CONSULTANT

Whenever a consultant is substituted by another consultant each shall be responsible to the extent of works under taken by them.

  - SUBSTITUTION OF RESIDENT ENGINEER

- When Resident Engineer is substituted by another Resident Engineer, on a project that is under construction, the new Resident Engineer shall be responsible for the work to be carried out by him only and not for that carried out by his predecessor.

- The outgoing Resident Engineer shall hand over the construction record, of the period of his incumbency, to the Resident Engineer taking over from him.

- The Owner shall promptly notify to the PASDEC the facts of such change and duly notify the Contractor of the name of the new Resident Engineer.

- In case of change of owner the original owner will inform PASDEC immediately.

  - SUBSTITUTION OF CONTRACTOR

- In case of change of contractor the owner/ Resident Engineer shall immediately inform PASDEC. The Resident Engineer will maintain a record of the magnitude of construction works done by each contractor.

- In case of change of a Consultant, Resident Engineer or Contractor, the buyer/lessee shall immediately inform PASDEC in writing along with the details of substitute appointed.

# FORM “A”

GOVERNMENT OF THE PAKISTAN

PAKISTAN STONE DEVELOPMENT COMPANY

(MARBLE CITY, RISALPUR)

Marble City at ______________________________________________________

Plot No.___________________ Total Area _______________________ sq.ft.(sq.m)

Applicant _______________________________________________________________

Nature of Industry & Product ______________________________________________

## APPLICATION FOR PERMISSION TO

## UNDERTAKE CONSTRUCTION OF BUILDING UNDER

## THE BYE-LAWS OF MARBLE CITY, RISALPUR

To

The Building Control Engineer,

Marble City Risalpur,						No._______________

Sir,

I/we hereby apply for permission to execute the work of erecting/re-erecting a building of the following description at Plot No._________________________

- The following papers and a CD containing them accompany this Application:-
Site Plan		Sheets __________		Copies __________

Building Plan		Sheets __________		Copies __________

Specifications 		Sheets __________		Copies __________

(Form “B” and “C”)

3.    The plans and specifications have been drawn by M/s. _________________

___________________________________________________________(ProfessionalQualification) ________________________________________________________________.

4.    The construction of the building will be supervised by ________________________________________ (Professional Qualifications) ___________________________________________________________________.

5.    I/we herewith certify that I/we know and accept the PASDEC Bye-Laws and undertake that the construction work will be done in accordance with the Bye-Laws and the sanctioned plan(s).